## Connection Config
Connection Type | Device Brand | Device Name | Device Type | IP | Port | Timeout | Interval | Destination | Destination Location
TCP | ADAM-6250-MP | ACB_IO_MP1 | io | 192.168.100.160 | 502 | 3000 | 1000 | filesystem | data

## Modbus Address
address type | unit id | group | code name | display name | address name | function code | address | fix value | data type | bit length | signed type | endianness | scale | decimal places | offset | enable bit configuration | bit configuration | enable parse configuration | parse configuration | is warning variable | warning level | start address | data count | is heartbeat address | heartbeat interval
individual | 1 |  |  | Trip | DI_0 | 1 | 0 |  | Int | 1 | Unsigned | Big Endian | 1 | 0 | 0 | false |  | false |  | false | 0 |  | 1 | false
individual | 1 |  |  | Close | DI_1 | 1 | 1 |  | Int | 1 | Unsigned | Big Endian | 1 | 0 | 0 | false |  | false |  | false | 0 |  | 1 | false
individual | 1 |  |  | Open | DI_2 | 1 | 2 |  | Int | 1 | Unsigned | Big Endian | 1 | 0 | 0 | false |  | false |  | false | 0 |  | 1 | false
individual | 1 |  |  | Local | DI_3 | 1 | 3 |  | Int | 1 | Unsigned | Big Endian | 1 | 0 | 0 | false |  | false |  | false | 0 |  | 1 | false
individual | 1 |  |  | Remote | DI_4 | 1 | 4 |  | Int | 1 | Unsigned | Big Endian | 1 | 0 | 0 | false |  | false |  | false | 0 |  | 1 | false
individual | 1 |  |  | Serve | DI_5 | 1 | 5 |  | Int | 1 | Unsigned | Big Endian | 1 | 0 | 0 | false |  | false |  | false | 0 |  | 1 | false
individual | 1 |  |  | Close | DO_0 | 1 | 16 |  | Int | 1 | Unsigned | Big Endian | 1 | 0 | 0 | false |  | false |  | false | 0 |  | 1 | false
individual | 1 |  |  | OPEN | DO_1 | 1 | 17 |  | Int | 1 | Unsigned | Big Endian | 1 | 0 | 0 | false |  | false |  | false | 0 |  | 1 | false