## Connection Config
Connection Type | Device Brand | Device Name | Device Type | IP | Port | Timeout | Interval | Destination | Destination Location
TCP | ADAM-6250-SOL | IO_SOL | io | 192.168.100.164 | 502 | 3000 | 1000 | filesystem | data

## Modbus Address
address type | unit id | group | code name | display name | address name | function code | address | fix value | data type | bit length | signed type | endianness | scale | decimal places | offset | enable bit configuration | bit configuration | enable parse configuration | parse configuration | is warning variable | warning level | start address | data count | is heartbeat address | heartbeat interval
individual | 1 |  |  | XV_01_A on | DI_0 | 1 | 0 |  | Int | 1 | Unsigned | Big Endian | 1 | 0 | 0 | false |  | false |  | false | 0 |  | 1 | false
individual | 1 |  |  | XV_01_A off | DI_1 | 1 | 1 |  | Int | 1 | Unsigned | Big Endian | 1 | 0 | 0 | false |  | false |  | false | 0 |  | 1 | false
individual | 1 |  |  | FS_01_A on | DI_2 | 1 | 2 |  | Int | 1 | Unsigned | Big Endian | 1 | 0 | 0 | false |  | false |  | false | 0 |  | 1 | false
individual | 1 |  |  | FS_01_A off | DI_3 | 1 | 3 |  | Int | 1 | Unsigned | Big Endian | 1 | 0 | 0 | false |  | false |  | false | 0 |  | 1 | false
individual | 1 |  |  | XV_01_B on | DI_4 | 1 | 4 |  | Int | 1 | Unsigned | Big Endian | 1 | 0 | 0 | false |  | false |  | false | 0 |  | 1 | false
individual | 1 |  |  | XV_01_B off | DI_5 | 1 | 5 |  | Int | 1 | Unsigned | Big Endian | 1 | 0 | 0 | false |  | false |  | false | 0 |  | 1 | false
individual | 1 |  |  | FS_01_B on | DI_6 | 1 | 6 |  | Int | 1 | Unsigned | Big Endian | 1 | 0 | 0 | false |  | false |  | false | 0 |  | 1 | false
individual | 1 |  |  | FS_01_B off | DI_7 | 1 | 7 |  | Int | 1 | Unsigned | Big Endian | 1 | 0 | 0 | false |  | false |  | false | 0 |  | 1 | false
individual | 1 |  |  | DI_8 | DI_8 | 1 | 8 |  | Int | 1 | Unsigned | Big Endian | 1 | 0 | 0 | false |  | false |  | false | 0 |  | 1 | false
individual | 1 |  |  | DI_9 | DI_9 | 1 | 9 |  | Int | 1 | Unsigned | Big Endian | 1 | 0 | 0 | false |  | false |  | false | 0 |  | 1 | false
individual | 1 |  |  | DI_10 | DI_10 | 1 | 10 |  | Int | 1 | Unsigned | Big Endian | 1 | 0 | 0 | false |  | false |  | false | 0 |  | 1 | false
individual | 1 |  |  | XV_01_A on | DO_0 | 1 | 16 |  | Int | 1 | Unsigned | Big Endian | 1 | 0 | 0 | false |  | false |  | false | 0 |  | 1 | false
individual | 1 |  |  | XV_01_A off | DO_1 | 1 | 17 |  | Int | 1 | Unsigned | Big Endian | 1 | 0 | 0 | false |  | false |  | false | 0 |  | 1 | false
individual | 1 |  |  | FS_01_A on | DO_2 | 1 | 18 |  | Int | 1 | Unsigned | Big Endian | 1 | 0 | 0 | false |  | false |  | false | 0 |  | 1 | false
individual | 1 |  |  | FS_01_A off | DO_3 | 1 | 19 |  | Int | 1 | Unsigned | Big Endian | 1 | 0 | 0 | false |  | false |  | false | 0 |  | 1 | false
individual | 1 |  |  | XV_01_B on | DO_4 | 1 | 20 |  | Int | 1 | Unsigned | Big Endian | 1 | 0 | 0 | false |  | false |  | false | 0 |  | 1 | false
individual | 1 |  |  | XV_01_B off | DO_5 | 1 | 21 |  | Int | 1 | Unsigned | Big Endian | 1 | 0 | 0 | false |  | false |  | false | 0 |  | 1 | false
individual | 1 |  |  | FS_01_B on | DO_6 | 1 | 22 |  | Int | 1 | Unsigned | Big Endian | 1 | 0 | 0 | false |  | false |  | false | 0 |  | 1 | false
individual | 1 |  |  | FS_01_B off | DO_7 | 1 | 23 |  | Int | 1 | Unsigned | Big Endian | 1 | 0 | 0 | false |  | false |  | false | 0 |  | 1 | false