## Connection Config
Connection Type | Device Name | Device Type | IP | Port | Timeout | Interval | Destination | Destination Location
TCP | TR | tr | 192.168.100.130 | 502 | 3000 | 1000 | filesystem | data

## Modbus Address
address type | unit id | group | display name | address name | function code | address | data type | bit length | signed type | endianness | scale | decimal places | offset | enable bit configuration | bit configuration | enable parse configuration | parse configuration | is warning variable | warning level | start address | data count | is heartbeat address | heartbeat interval
individual | 1 |  |  | temperature | 3 | 3 | Double | 16 | Unsigned | Big Endian | 0.1 | 1 | 0 | false |  | false |  | false | 1 |  | 1 | false